City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Ft Pitt Boulevard Mixed Use Development

1) What was the previous permitted use for this property?

Property was previously mixed use, a mix of residential and office space.

2) What is the proposed use for the property?

The project will continue this use but add additional residential units.

3) How is green stormwater mitigation being integrated into the proposed project?

Per city code, as there is no exterior changes to the building or increases in impervious area, no stormwater mitigation is required and therefore none is proposed.

4) Will the development result in a net positive or net negative change in stormwater flow?

The project will maintain its current stormwater flow quantities as there is no change in the exterior parts of the structure.