City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Botero Development - 4112 Butler Street

1) What was the previous permitted use for this property?

Historically the site and structure has been used as a commercial bank and retail shops.  Currently the structure is empty and not in use.

2) What is the proposed use for the property?

The proposed use is commercial and retail with a restaurant on the first floor and retail and coffee shop/bar on the second floor.

3) How is green stormwater mitigation being integrated into the proposed project?

Structural BMPs were not required for this project.  The developer added additional landscaping in the rear promoting infiltration of additional stormwater.

4) Will the development result in a net positive or net negative change in stormwater flow?

Exterior impervious surfaces have slightly decreased in the proposed condition, due to the added additional landscaping areas. Therefore, the overall net stormwater runoff will be slightly decreased in the proposed condition.