City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: 1100 Shady Ave Plan of Lots

1) What was the previous permitted use for this property?

The site is currently a private tennis court for the house at 1100 Shady Ave. and a recent Lot Line Revision has been approved and recorded by the city to allow the building of the new dwelling.

2) What is the proposed use for the property?

The proposed use is for a single-family dwelling.

3) How is green stormwater mitigation being integrated into the proposed project?

Due to the size of the project, it is exempt from providing stormwater detention facilities.  Vegetation / landscaping will be provided to the maximum extent possible.

4) Will the development result in a net positive or net negative change in stormwater flow?

The proposed development will result in a low change positive or negative, approaching zero net change as the proposed dwelling will be placed on land that is currently impervious as a tennis court.