City of Pittsburgh

Arrott Bldg Hotel - 401 Wood St.

Sewer Facilities Planning Module Questionnaire

1) What was the previous permitted use for this property?

Office Building

2) What is the proposed use for the property?

Repurposing of the existing 18 story office building into a hotel with full service restaurant.

3) How is green stormwater mitigation being integrated into the proposed project?

The existing 18 story building occupies the entire parcel and only ground disturbance will involve utility connections and sidewalk replacement. This disturbance will involve well under 10,000 square feet and there will be no increase in impervious surface, thus no stormwater mitigation will be required.

4) Will the development result in a net positive or net negative change in stormwater flow?

There will be no change in stormwater runoff, however the storm and sanitary flow will be separated and separate connections made into the public sewer in Wood St.