City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME:

1) What was the previous permitted use for this property?

The property contains a building used for warehouse space.

2) What is the proposed use for the property?

The proposed use of the property is a 161-unit apartment complex with a lobby and amenities on the 1st floor.

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater will be captured through a proposed underground detention facility.

4) Will the development result in a net positive or net negative change in stormwater flow?

The site will experience a net decrease in stormwater due to the proposed underground detention facility.