City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Bajoras – Smallman Street Residential Development

1) What was the previous permitted use for this property?

The site is currently vacant.

2) What is the proposed use for the property?

The owner proposes two (2) new single-family dwellings consisting of two (2) bedrooms per unit.

3) How is green stormwater mitigation being integrated into the proposed project?

There is existing impervious area on site and the project is exempt from providing stormwater detention facilities. Vegetation and landscaping will be provided to the maximum extent possible.

4) Will the development result in a net positive or net negative change in stormwater flow?

Due to the scale of the project, the stormwater will have a de minimis net change. This project is exempt from providing stormwater detention facilities.