City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Grandview Townhomes at 515-525 Grandview Ave.

1) What was the previous permitted use for this property?

The site is currently 4 vacant lots.

2) What is the proposed use for the property?

The proposed use is attached residential (8 Townhomes)

3) How is green stormwater mitigation being integrated into the proposed project?

Structural BMPs are proposed at the site as an effort to improve water quality.  This effort would include a subsurface infiltration bed.  Other BMP’s were evaluated for the site, but were not proposed due to the size of the site.

4) Will the development result in a net positive or net negative change in stormwater flow?

With the development there will be no increase in stormwater flows due to the storm tanks in the rear driveway behind the homes.