City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: North Shore Parking Garage Lot 10

1) What was the previous permitted use for this property?

Surface parking lot with minimum landscaping areas.

2) What is the proposed use for the property?

The proposed property will consist of a new 5-story parking garage with flexible retail space on the ground floor.

3) How is green stormwater mitigation being integrated into the proposed project?

The proposed stormwater management system includes underground infiltration system and amended soils. The total area of disturbance for the development will be greater than 10,000 square feet; therefore, per Section 1003.04.C of the City of Pittsburgh Code, the project will require a stormwater management plan. Due to this, multiple Best Management Practices (BMPs) will be implemented going forward, including an underground infiltration system. Stormwater will be managed on site to the greatest extent possible by maximizing greenspace on site.

4) Will the development result in a net positive or net negative change in stormwater flow?

After the implementation of the proposed stormwater management system, the development will result in a net negative change in stormwater flow.