City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Brickworks Townhomes

1) What was the previous permitted use for this property?

Site is located in the RIV-IMU zoning district and was most recently used as a surface parking lot.

2) What is the proposed use for the property?

Residential (40 Townhome Units)

3) How is green stormwater mitigation being integrated into the proposed project?

Several areas are proposed to be vegetated / landscaped post-construction that are currently either pavement or compacted stone. Additionally, stormwater management infrastructure has been implemented into the design to store, attenuate and slowly release and/or infiltrate stormwater captured from onsite impervious areas.

4) Will the development result in a net positive or net negative change in stormwater flow?

A net negative change in stormwater flows will be achieved post-construction. The site in its current state is nearly 100% impervious area with no existing stormwater controls.