City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Troy Hill Apartments

- What was the previous permitted use for this property?

Automobile Repair Shop

- What is the proposed use for the property?

Three and One Half Story Apartment Building

- How is green stormwater mitigation being integrated into the proposed project?

Exterior permeable pavers and landscape areas.

- Will the development result in a net positive or net negative change in stormwater flow?

Proposed building is using the existing footprint with a decrease in impermeable areas therefore a net negative stormwater flow.