CHAPTER 1007: UNIFORM CONSTRUCTION CODE ADOPTION

Renumber as CHAPTER 1002.

§ 1002.01

§ 1007.01 ADOPTION AND PURPOSE.

There is hereby adopted by the City of Pittsburgh, for the purpose of prescribing regulations governing the construction, alteration, repair, removal, demolition, use, location, occupancy and maintenance of all buildings and structures, that certain code known as the Uniform Construction Code, contained in 34 Pa. Code, Chapters 401 – 403, which consists of the following codes which are published by the International Code Council, being particularly the 2003 Edition:

(1)  The provisions of Chapters 2-29 and 31-35 of the "International Building Code."

(2)  The "ICC Electrical Code."

(3)  The "International Mechanical Code."

(4)  The "International Fuel Gas Code."

(5)  The "International Plumbing Code."

(6)  The "International Residential Code."

(7)  The "International Fire Code."

(8)  The "International Energy Conservation Code."

(9)  Sections AE501-AE503 and AE601-AE605 of Appendix E of the "International Residential Code."

(10) The "International Existing Building Code."

(11) The "International Urban-Wildland Interface Code."

(12) Appendix E of the "International Building Code."

(13) Appendix H of the "International Building Code."

(14) Appendix G of the International Residential Code."

(15)  The “ICC Performance Code”

In addition to these standards, which are referenced in Pa. Title 34 §403.21, the City of Pittsburgh also adopts the following portions of the “International Building Code”, which are not included as part of Title 34:

- Chapter 1, as amended to conform to the provisions of Title 34.

- Chapter 30, which contains the building code requirements for elevators, elevator shafts and elevator machine rooms.

- Appendix B, as amended, which contains the provision for the board of appeals.

Copies of such code are on file with the City Clerk and the Bureau of Building Inspection for public inspection. The Code is hereby adopted and incorporated as it fully set out at length herein, except such portions thereof as are changed by Paragraph 1002.02.

§ 1002.02

§ 1007.02 CHANGES SPECIFIED.

The Uniform Construction Code adopted by Paragraph 1002.01 is hereby changed by the enactment, repeal or amendment of provisions, which charges are on the following pages, with the location in the Code for that page noted by the heading "Change(s) Page(s)".

CITY OF PITTSBURGH AMENDMENTS TO THE UNIFORM CONSTRUCTION CODE:

[insert all the code changes at this point]