City of Pittsburgh

2908 Smallman Street Land Development

2908-2916 Smallman Street, Pittsburgh, PA 15201

Sewer Facilities Planning Module Questionnaire

1) What was the previous permitted use for this property?

Previously, the property had been a warehouse, but has not been in use for over five years.

2) What is the proposed use for the property?

The proposed use of the property is a fitness center on the first floor and 15 residential apartments on the second and third floors each. The apartments are all studio/1 bedroom and associated parking will be located next door at 2926 Smallman Street. The construction is mostly interior renovation.

3) How is green stormwater mitigation being integrated into the proposed project?

The development will meet all requirements for the City of Pittsburgh, as well as the Allegheny County Conservation District. As the project is mostly interior renovation, with less than 500 square feet of disturbance on the exterior, stormwater management permitting is not required. The development will upgrade and maintain all existing stormwater connections and is additionally cleaning the PWSA combined sewer line in Mulberry Way.

4) Will the development result in a net positive or net negative change in stormwater flow?

As the project is developing existing warehouses, and meeting all local, state and federal volume, rate and water quality requirements for runoff, the development will result in a net negative change in stormwater flow.