City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Garfield Highlands

1) What was the previous permitted use for this property?

Residential lots.

2) What is the proposed use for the property?

Thirteen (13) single-family units across thirteen (13) lots.

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater flows conveyed from roof via roof leader system to existing PWSA combination sewer.

4) Will the development result in a net positive or net negative change in stormwater flow?

5375-5377 Rosetta St.: 0.09 cfs increase

5368-5370 Rosetta St.: 0.06 cfs increase

213-215 N. Aiken Ave.: 0.09 cfs increase

405-431 N. Aiken Ave.: 0.00 cfs increase/decrease