City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME:

7415 Hermitage Street

1) What was the previous permitted use for this property?

Residential

2) What is the proposed use for the property?

Two-Unit Residential (x4) for a total of eight (8) residential units

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater roof drains have been proposed to connect to the existing 15” PWSA Combo sewer in Hermitage Street.

4) Will the development result in a net positive or net negative change in stormwater flow?

The development will have a total decrease in stormwater flow.  Existing impervious area is greater than proposed impervious area.