City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: 300-302-306-308-312-314-318-320 North Saint Clair Street

1) What was the previous permitted use for this property?

Residential.

2) What is the proposed use for the property?

Single family semi-attached residential home (there are eight separate lots, with a home on each, with individual combined-sewer tap-ins).

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater management is not required because the 1,195 s.f. impervious area (per lot) is less than the allowable 5,000 s.f. increase of impervious area.

4) Will the development result in a net positive or net negative change in stormwater flow?

This will result in a small net positive stormwater flow that shall be connected to a PWSA storm sewer.