City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Riverfront Residences II

1) What was the previous permitted use for this property?

The site has been used as a rail yard and urban uses for the past fifty (50) years. For the past five (5) years it has been used for urban development and parking.

2) What is the proposed use for the property?

The proposed use is to construct two (2) multi-unit residence buildings with common spaces within portions of the property.

3) How is green stormwater mitigation being integrated into the proposed project?

All the Green Infrastructure listed in Section 1003.04A(d) where considered for this project. The following is a breakdown of whether or not these facilities where feasible for this project:

1. Rain Gardens, Vegetated Swales, Pocket Wetlands: These devices are not considered feasible due to the existing polluted groundwater / soils and Act 2 classification of the site. In the Act 2 clearances it was determined that direct contact with standing water should be minimized, and by eliminating stormwater facilities that have surface ponding or potential for puddles to form (i.e. Rain Gardens, Vegetated Swales, and Pocket Wetlands) direct contact was minimized.

2. Pervious Pavements: Devices that promote infiltration were not considered for this site since the existing soils are contaminated and that infiltrating clean water into these soils would be counterproductive. The proposed filter system keeps the clean water clean by lining it with an impermeable liner and discharging it into the separate storm sewer system.

3. Green Roofs: The runoff from the roof is the cleanest and the site already reducing the amount of impervious, so they were not considered feasible to provide water quality.

4. Rainwater Harvesting: There are no uses / demand for a rainwater harvesting tank that would make this feasible to provide the required water quality volume.

Due to the site constraints and existing soil conditions the Terre Kleen Inclined Plate Hydrodynamic Separator from the Approved Alternative PCSM Better Management Practice is proposed to treat the runoff from the site. The proposed facility is approved at the following Removal Efficiencies: 80% Total Suspended Solids, 50% Total Phosphorus, 25% Nitrogen, which is equivalent to a Constructed Filter or Bio-retention Facility. There are also small bio-retention pockets designed and detailed to go in the Plaza between the two buildings however, they are primarily for pre-treatment and since the Terre Kleen provides the required treatment volume for the project.

4) Will the development result in a net positive or net negative change in stormwater flow?

Due to the reduction in impervious, the development of the Riverfront Residences II and related infrastructure including stormwater management facilities, will result in a reduction of the peak runoff rate and volume all of the design storm events as required. As well provide Water Quality as required by the City of Pittsburgh and PA DEP (NPDES).