City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: North Shore Lot 10.2

1) What was the previous permitted use for this property?

Parking lot

2) What is the proposed use for the property?

Ground floor Retail/Restaurant and multi-unit Residential (Second to Sixth floor)

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater management is achieved on this project through the reuse and maintenance of existing stormwater infrastructure – an on-site existing infiltration vault from the previous phase of the project (North Shore Lot 10). Earth disturbance during construction will be kept to the minimum amount of soil disturbance practicable, minimizing sediment pollution of site runoff.

4) Will the development result in a net positive or net negative change in stormwater flow?

This development will result in a net negative change in stormwater flow.