City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: 31st Ward Pump Station and Appurtenances Phase 2

1) What was the previous permitted use for this property?

The previous permitted use for the property was for residential homes and a sewage pump station.

2) What is the proposed use for the property?

The proposed use for the property is for a sewage pump station and flow equalization tank for wet weather flows.

3) How is green stormwater mitigation being integrated into the proposed project?

Downspouts are directed to stormwater BMPs rather than the sanitary or storm sewers.  We would also propose implementation of a riparian buffer adjacent to the streams that will serve two functions:  visual screening of the EQ tank and pump station, and protecting and enhancing the streams by limiting erosion, filtering and sequestering pollutants, and providing habitat for wildlife. This last bit is directly from the COP Stormwater Manual. Improvements and construction of the pump station and EQ tank also aim to reduce sanitary sewer overflows (SSO’s).

4) Will the development result in a net positive or net negative change in stormwater flow?

It will be net negative for both volume and rate as there are release rates from the County’s Act 167 Plan that were incorporated into our stormwater calcs.  Also, PADEP/ACCD stormwater requirements make us assume that 20% of the existing impervious surfaces are treated as meadow in good condition.  Also, the EQ tank acts as a “sink” so even without any stormwater management, the site would be at a deficit. (This doesn’t account for the 50% release rate or other requirements – it's just a simple before and after comparison.)