City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Allegheny City Brewing

1) What was the previous permitted use for this property?

The previous permitted use for this property was two lots with a single, multi-residential building that spans both lots.

2) What is the proposed use for the property?

The proposed use is three lots with 4-single family residential units.

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater management is not required because the 2,917 s.f. increase in impervious area is less than the allowable 5,000 s.f. of impervious area.

4) Will the development result in a net positive or net negative change in stormwater flow?

The development will result in a net negative change in stormwater flow.