City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME:  Walnut McKee Apartments

1) What was the previous permitted use for this property?

Multi-family residential use

Zoned UC-E (Urban Center Employment Zoning District)

2) What is the proposed use for the property?

Multi-family residential use and retail.

3) How is green stormwater mitigation being integrated into the proposed project?

Vegetated BMPs are designed to collect stormwater from the site and roof drains. The flow passes through the vegetated basin to a pipe, where the water is concentrated to an underground storage tank with an outlet structure controlling the flow to the sewer main.

4) Will the development result in a net positive or net negative change in stormwater flow?

The proposed development is designed with multiple stormwater BMPs which reduces the stormwater flow for a negative change in flow.