


City of Pittsburgh
Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Fairywood Building 2

1) What was the previous permitted use for this property?
	The site is currently an undeveloped lot.
	
2) What is the proposed use for the property?
	The project proposes the construction of a new warehouse area. The proposed construction will include clearing, grading, and construction of the proposed warehouse building with associated parking and utilities.
	
3) How is green stormwater mitigation being integrated into the proposed project?
	The project proposes stormwater management facilities consisting of collection via storm inlets, discharge into existing storm sewer, and collection in an underground tank located on the property.

4) Will the development result in a net positive or net negative change in stormwater flow?
	SCMs are proposed to eliminate the increase in stormwater runoff volume created by the development. One (1) structural SCM is proposed; An underground detention tank designed to meet Managed Release Concept (MRC) standards is proposed to work in series with below ground existing and proposed storm sewer. The tank will have a corresponding outlet control structure and will control runoff volume and rate from the site.




