City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Allegheny Branch House Lofts

1) What was the previous permitted use for this property?

Property was previously a wholesaler of industrial printers and supplies.

2) What is the proposed use for the property?

The proposed use is loft apartments.

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater management for the entire project is handled by an underground detention system in the parking area of the project.  The underground detention system has an infiltration bed directly underneath the footprint of the system.

4) Will the development result in a net positive or net negative change in stormwater flow?

As a result of the aforementioned underground detention system, there is an overall negative change in stormwater flow.  The calculations show as a result of the stormwater BMPs, there is a 100% reduction in stormwater flow leaving the site.