City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Fifty 26th LLC

- What was the previous permitted use for this property? Existing office/warehouse.

- What is the proposed use for the property?

Previously approved 179 residential units with an amenity rich lobby. We are adding twenty more units.

- How is green stormwater mitigation being u1tegrated into the proposed project?

Underground detention and a subsurface infiltration bed are proposed as our green infrastructure and is also designed to control all storms to less than theu·predevelopment peak discharge rates.

- Will the development result in a net positive or net negative change in stormwater flow? This will result in a net negative st01mwater flow.