City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: CMU TATA Consultancy Services Building

1) What was the previous permitted use for this property?

Educational Institution

2) What is the proposed use for the property?

Educational Institution

3) How is green stormwater mitigation being integrated into the proposed project?

The proposed stormwater management system includes inlets, water quality devices, an underground detention system, a bioretention area, and underground stormwater pipes for conveyance, rate control, and quality control.

4) Will the development result in a net positive or net negative change in stormwater flow?

After the implementation of the proposed stormwater management system, the development will result in a net negative change in stormwater flow.