City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Doughboy Affordable Living

1) What was the previous permitted use for this property?

One portion of the site is currently a partially vegetated lot, the other is a vegetated lot with an existing building.

2) What is the proposed use for the property?

The proposed use is affordable housing and a small commercial space.

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater management for the entire project is handled by an underground detention system in the parking area of each proposed building.  The underground detention system has an infiltration bed directly underneath the footprint of the system.

4) Will the development result in a net positive or net negative change in stormwater flow?

As a result of the aforementioned underground detention systems, there is an overall negative change in stormwater flow.  The calculations show as a result of the stormwater BMPs, there is nearly a 50% reduction in stormwater flow leaving the site.