City of Pittsburgh

201 Arsenal Phase II Residential Land Development

135 39th Street, Pittsburgh, PA 15201

Sewer Facilities Planning Module Questionnaire

1) What was the previous permitted use for this property?

The previous use of the property has been a warehouse, as well as an office building (old officers quarter).

2) What is the proposed use for the property?

The proposed use of the property is to demolish the warehouses, but to keep the officers quarter. In place of the warehouses, a new five story residential apartment and parking structure will be constructed, consisting of micro, studio, one, two and three bedroom units with associated lobby and amenity area, totaling 344 units.

3) How is green stormwater mitigation being integrated into the proposed project?

The development will meet all requirements for the City of Pittsburgh, as well as the Allegheny County Conservation District. The development will minimize onsite impervious area with courtyard, amenity, and other landscape area.

4) Will the development result in a net positive or net negative change in stormwater flow?

As the project is developing existing warehouses, and meeting all local, state and federal volume, rate and water quality requirements for runoff, the development will result in a net negative change in stormwater flow.