City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Warhol Museum Expansion

- What was the previous permitted use for this property?

Parking, Commercial (Limited)

- What is the proposed use for the property?

The proposed use for the property will be mixed use building, which will include a 1,000- person theater, office space, and event space.

- How is green stormwater mitigation being integrated into the proposed project?

Due to the nature of the project and site constraints, green stormwater mitigation is limited to small pervious/landscape areas for infiltration. The remaining areas of the site consist of impervious areas, where an underground detention facility in the rear of the site will be utilized.

- Will the development result in a net positive or net negative change in stormwater flow?

There will be a decrease in peak runoff rate and peak runoff volume.