City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Arsenal Park Phase I Design: “Lower Arsenal Park Improvements”

1) What was the previous permitted use for this property?

Property was previously a public park.

2) What is the proposed use for the property?

The proposed use is public park.

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater is handled by three (3) raingardens with overflow structures near the playground area of the project. The raingardens will allow for stormwater infiltration, while overflow structures will convey excess stormwater during less frequent high precipitation events.

4) Will the development result in a net positive or net negative change in stormwater flow?

As a result of the aforementioned rain gardens, there is an overall negative change in stormwater discharge volumes and stormwater peak runoff rates (flow).