City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Flats on Forward (5824 Forward Ave.)

1) What was the previous permitted use for this property?

Property was previously the Squirrel Hill movie theatre.

2) What is the proposed use for the property?

The proposed use is affordable housing and commercial space below.

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater management for the entire project is handled by an underground detention system in the courtyard area of project.  The underground detention system has an infiltration bed directly underneath the footprint of the system.

4) Will the development result in a net positive or net negative change in stormwater flow?

As a result of the aforementioned underground detention systems, there is an overall negative change in stormwater flow.  The calculations show as a result of the stormwater BMPs, there a 90%+/- reduction in stormwater flow leaving the site.