City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Josephine Street Townhomes

1) What was the previous permitted use for this property?

The property was previously permitted for use as a parking lot.

2) What is the proposed use for the property?

The proposed use of the property is for the construction of 32 3-bedroom townhomes and

6 4-bedroom townhomes.

3) How is green stormwater mitigation being integrated into the proposed project?

The development will meet all requirements for the City of Pittsburgh as well as the

Allegheny County Conservation District.  The site was designed to minimize impervious areas to

the greatest extent possible with consideration to existing and proposed uses. Since the site was

previously developed, little vegetation or drainage features currently exist on-site. The

redevelopment minimizes land clearing, grading, and soil compaction.

4) Will the development result in a net positive or net negative change in stormwater flow?

The proposed post development condition reduces the impervious cover of the site when compared to the existing site conditions. Therefore, there is a net negative change in stormwater flow.