City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Forte Condominiums (2637 – 2641 Penn Ave)

1) What was the previous permitted use for this property?

The site is currently a parking lot and a gravel lot.

2) What is the proposed use for the property?

The proposed use is a residential development.

3) How is green stormwater mitigation being integrated into the proposed project?

The owner/developer is proposing to construct tree pits along Penn Avenue that will allow stormwater from the 2-year storm event to be infiltrated through a bio-soil mix or be evapotranspirated by the trees and shrubs.  Any runoff in excess of the 2-year will be directed to an underground detention system, which will result in reduced stormwater flows.

4) Will the development result in a net positive or net negative change in stormwater flow?

The proposed development will result in a decrease in stormwater flows that will be managed through the use of green infrastructure, an underground detention system, and a connection to an existing PWSA combined line.