City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Brewer’s Block (3250 Liberty Avenue)

1) What was the previous permitted use for this property?

At the existing project area, there is an existing gravel lot and three (3) warehouse structures.

2) What is the proposed use for the property?

Proposed three multi-unit residential buildings.

3) How is green stormwater mitigation being integrated into the proposed project?

Converting compacted gravel lot into lawn/landscape areas is proposed as our green infrastructure.  Four detention basins are also designed to control all storm to less than their predevelopment peak discharge rates.

4) Will the development result in a net positive or net negative change in stormwater flow?

This will result in a net negative stormwater flow.