City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Fairywood

1) What was the previous permitted use for this property?

The property previously contained pavement and utilities.

2) What is the proposed use for the property?

The proposed use of the property is a warehouse development, including adjacent loading docks, parking, two (2) underground stormwater management facilities, and associated utilities.

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater will be captured through two (2) proposed underground stormwater detention facilities.

4) Will the development result in a net positive or net negative change in stormwater flow?

The site will experience a net decrease in stormwater due to the installation of the underground stormwater detention facilities.