City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Light of Life (665 Ridge Ave)

1) What was the previous permitted use for this property?

The site is currently utilized by Light of Life Ministries as a resource for the local at-risk populations, a staging area for donations provided to Light of Life Ministries, and office space for staff members.

2) What is the proposed use for the property?

The proposed use of the property will consist of forty (40) housing units.

3) How is green stormwater mitigation being integrated into the proposed project?

The proposed development has an overall net reduction of impervious area which results in a net reduction in volume and rate of the Site for all evaluated storms in the proposed condition. Retentive grading will be implemented within the landscape areas which are to be reclaimed from existing Site paving.  A total of 1,198 cu ft of runoff occurs from the first (1) inch of runoff from the impervious area within the limit of disturbance.  A total area of 2,400 sf of retentive grading at a minimum of 6 inches deep will be implemented to provide 1,200 cu ft of volume control.

4) Will the development result in a net positive or net negative change in stormwater flow?

The proposed development has an overall net reduction of impervious area which results in a net reduction in volume and rate of the Site for all evaluated storms in the proposed condition.