**City of Pittsburgh**

**Sewer Facilities Planning Module Questionnaire**

**PROJECT NAME: North Aiken Duplexes, 10th Ward**

**1) What was the previous permitted use for this property?**

None, vacant land.

**2) What is the proposed use for the property?**

 Two (2) Buildings, 3-Story Duplexes.

**3) How is green stormwater mitigation being integrated into the proposed project?**

 Stormwater flows conveyed from roof via roof leader system to existing PWSA combination sewer.

**4) Will the development result in a net positive or net negative change in stormwater flow?**

 0.1 cfs net positive change.