City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Letsche School Property, located at 1530 Cliff St. near Bedford Ave.

1) What was the previous permitted use for this property?

The previously permitted uses for the properties were a school house and most recently a vacant building.

2) What is the proposed use for the property?

The proposed uses are 42 apartment units and 4 townhouse units.

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater management BMPs will be implemented to meet the standards and requirements of the Allegheny County Conservation District, Pennsylvania DEP, and the City of Pittsburgh.

4) Will the development result in a net positive or net negative change in stormwater flow?

Rate control efforts include a 60” SLCPP subsurface extended detention tank to be utilized resulting in a reduction in stormwater flows post development.