City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: The University of Pittsburgh Hillman Library Expansion

1) What was the previous permitted use for this property?

The property currently contains the Hillman Library. The current use for the property will remain after the proposed improvements.

2) What is the proposed use for the property?

The project proposes the construction of an addition, interior renovations, exterior renovations, and site improvements to the existing Hillman Library building.

3) How is green stormwater mitigation being integrated into the proposed project?

The proposed project will result in no additional impervious area. Therefore, stormwater management and best management practices are not required for the proposed project.

4) Will the development result in a net positive or net negative change in stormwater flow?

As there is no proposed increase in impervious area and therefore no stormwater management, the proposed project will result in no net change in stormwater flow.