City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Butler Carwash - 5610 Butler Street, 10th Ward

1) What was the previous permitted use for this property?

Office.

2) What is the proposed use for the property?

Drive-through Car Wash Facility.

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater flows conveyed from roof via roof drain system and underground detention facility which is equipped with internal water quality treatment to existing PWSA combination sewer.

4) Will the development result in a net positive or net negative change in stormwater flow?

Net negative via implementation of stormwater detention.