City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: 939 W North Ave

1) What was the previous permitted use for this property?

Parcel 22-S-113 previous permitted use for the property is Comm Aux Building and             Parcel 22-S-126 previous permitted use for the property is Office/Warehouse.

2) What is the proposed use for the property?

The project includes the removal of the existing structure and parking lot at 939 W North Ave and the development of 17 three-story single family townhomes, with detached garages with open lawn space.

3) How is green stormwater mitigation being integrated into the proposed project?

The site was designed to minimize impervious areas to the greatest extent possible with consideration to existing and proposed uses.  The redevelopment minimizes land clearing, grading, and soil compaction.

The site is located within the City of Pittsburgh, which requires (Section §1303.04) that 20% of the existing impervious area being disturbed, when present, shall be considered meadow for modeling purposes. The green lawn space will act as permanent stabilization of the site’s undeveloped disturbed areas and will consist of grass and landscaping for all open areas.

4) Will the development result in a net positive or net negative change in stormwater flow?

The proposed stormwater management plan has been designed such that the peak runoff rate resulting from the proposed development within the studied drainage area will be equal to or less than those calculated in existing conditions for all studied design storm events as well as providing Water Quality as required by the City of Pittsburgh. Upon completion of the development, the site will result in a net negative change in stormwater flow.