City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Fifty 26th LLC

1) What was the previous permitted use for this property?

Existing office/warehouse.

2) What is the proposed use for the property?

179 residential units with an amenity-rich lobby.

3) How is green stormwater mitigation being integrated into the proposed project?

Underground detention and a subsurface infiltration bed are proposed as our green infrastructure and is also designed to control all storm to less than their predevelopment peak discharge rates.

4) Will the development result in a net positive or net negative change in stormwater flow?

This will result in a net negative stormwater flow.