City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Meridan Street Residence

1) What was the previously permitted use for this property?

The lot was previously permitted for residential use.

2) What is the proposed use for the property?

The proposed use includes the construction of eight (8) single-family residences with associated utility services.

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater management is not required for this project because less than 5,000 SF of impervious area is created for each lot and less than 10,000 SF of land is disturbed on each lot.

4) Will the development result in a net positive or net negative change in stormwater flow?

This development will result in a minor net positive stormwater flow into the existing combined 15” sewer in Hallock Street.