City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: City’s Edge – 1400, 1440, 1450 and 1454 Colwell St.

1) What was the previous permitted use for this property?

Parking Lot.

2) What is the proposed use for the property?

Mixed Use – Office, Restaurant, Retail and Daycare in addition to an approximate (110) 1, 2, and 3 bedroom Apartments.  Also a Parking Garage.

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater will be detained in tanks under the parking garage portion of the building due to limited open space.  Green stormwater mitigation techniques were investigated and reviewed with DPW (Dept. of Public Works), but both the design team and DPW determined use of them would not be feasible.

4) Will the development result in a net positive or net negative change in stormwater flow?

The existing discharge quantities will not be changed.