City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Mellon’s Orchard

1) What was the previous permitted use for this property?

The site is presently a paved parking lot.

2) What is the proposed use for the property?

The site is proposed to be redeveloped for twelve new live/work units and three apartment buildings with a total of 35 apartment units.

3) How is green stormwater mitigation being integrated into the proposed project?

One of the apartment buildings (Building 200) will have a green roof above the community room area.

4) Will the development result in a net positive or net negative change in stormwater flow?

The proposed development will result in an increase in stormwater flows.  This increase will be managed through the use of the green roof and a subsurface stormwater detention system.  Due to site constraints, there is an increase in stormwater flows for smaller storms and a decrease in stormwater flows for larger storms.  The project is pursuing technical infeasibility for stormwater management from the City of Pittsburgh Department of City Planning, and approval is pending.