**City of Pittsburgh**

**Sewer Facilities Planning Module Questionnaire**

**PROJECT NAME: Petersen Sports Complex Support Building Renovation**

1) What was the previous permitted use for this property?

**The site is currently an athletic complex.**

2) What is the proposed use for the property?

**The proposed use is an athletic complex.**

3) How is green stormwater mitigation being integrated into the proposed project?

**The University of Pittsburgh is proposing to construct a three story building addition as well as a third story onto their existing two-story building known as the Petersen Sports Complex Support Building. Stormwater management for the project is handled via an underground detention system that is located above an infiltration bed.**

4) Will the development result in a net positive or net negative change in stormwater flow?

**The proposed development will result in an increase in stormwater flows that will be managed through the use of the aforementioned water quality BMP and a connection to an existing dedicated PWSA storm line. However, the measurements employed ensure post-development stormwater flows will be less than the pre-development conditions leaving the site.**