City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: 316 S. Highland Ave.

1) What was the previous permitted use for this property?

The previously permitted use for this property has consisted of a multiple family residential dwelling with parking garage.

2) What is the proposed use for the property?

The project proposes the construction of  a (4) four-story residential structure with basement. The multiple family dwelling will contain (6) six 2-bedroom, 2.5 bathroom condominium units. The basement floor will contain parking, mechanical rooms, storage, and a trash area.

3) How is green stormwater mitigation being integrated into the proposed project?

The development will meet all requirements for the City of Pittsburgh as well as the Allegheny County Conservation District.  The site was designed to minimize impervious areas to the greatest extent possible with consideration to existing and proposed uses. Since the site was previously developed, little vegetation or drainage features currently exist on-site. The redevelopment minimizes land clearing, grading, and soil compaction. The installation of a proposed storm pipe will drain from the structure to the existing combined sewer in Greenbriar Way.

4) Will the development result in a net positive or net negative change in stormwater flow?

Due to the minimal impact of this development (<10,000 SF land disturbance and <5,000 SF new impervious area) there is no stormwater management necessary. Upon completion of the development, the site will result in a net positive change in stormwater flow.