City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Safe Investments US – Wharton St

1) What was the previous permitted use for this property?

Vacant commercial land.

2) What is the proposed use for the property?

The proposed property will consist of the construction of eight (8) townhomes on the existing vacant lot. The existing vacant lot has been subdivided and each townhome has been assigned its own lot and address. The associated addresses for the eight townhomes are 2130-2137 Wharton Street, Pittsburgh, PA 15203.

3) How is green stormwater mitigation being integrated into the proposed project?

An underground storage tank will be utilized for the site as an attenuation and infiltration BMP. Stormwater will be managed on site to the greatest extent possible by maximizing flow through grassed and landscaped areas, as well as detaining runoff in the storage tank before eventually discharging to the combined sewer system.

4) Will the development result in a net positive or net negative change in stormwater flow?

After the implementation of the proposed stormwater management system, the development will result in a net negative change in stormwater flow.