City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: 3209 & 3211 Dobson Street

1) What was the previous permitted use for this property?

The previously permitted use for this property has consisted of residential units.

2) What is the proposed use for the property?

The project proposes the construction of two residential townhomes.  Both units will contain three (3) bedrooms and two and one half (2.5) bath.

3) How is green stormwater mitigation being integrated into the proposed project?

The development will meet all requirements for the City of Pittsburgh as well as the Allegheny County Conservation District.  The site was designed to minimize impervious areas to the greatest extent possible with consideration to existing and proposed uses. Since the site was previously developed, little vegetation or drainage features currently exist on-site. The redevelopment minimizes land clearing, grading, and soil compaction. The installation of a proposed storm pipe will drain from the structure to the existing combined sewer in Dobson Street.

4) Will the development result in a net positive or net negative change in stormwater flow?

Due to the minimal impact of this development (<10,000 SF land disturbance and <5,000 SF new impervious area) there is no stormwater management necessary. Upon completion of the development, the site will result in a net positive change in stormwater flow.