City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Hazelwood Brewery – 5007 Lytle Street, 15th Ward

1) What was the previous permitted use for this property?

None, vacant building.

2) What is the proposed use for the property?

New brewery and social gathering.

3) How is green stormwater mitigation being integrated into the proposed project?

Underground detention of stormwater which include internal water quality control devices and use of permeable paving.  Post development flows of stormwater will be less than pre-development flows.  Conveyance of storm flows via existing PWSA infrastructure.  Stormwater design approval form the City of Pittsburgh Environmental Planner on file.

4) Will the development result in a net positive or net negative change in stormwater flow?

The development will reduce stormwater flows.