City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: 4554-4564 Penn Avenue

1) What was the previous permitted use for this property?

Parcels 49-M-121, 49-M-122, 49-M-123, 49-M-124, AND 49-M-125 were previously permitted as commercial space. Parcel 49-M-126 was previously permitted as residential.

2) What is the proposed use for the property?

The project proposes the construction of six residential townhomes.  All units will contain three (3) bedrooms and two and one half (2.5) bathrooms.

3) How is green stormwater mitigation being integrated into the proposed project?

The development will meet all requirements for the City of Pittsburgh as well as the Allegheny County Conservation District.  The site was designed to minimize impervious areas to the greatest extent possible with consideration to existing and proposed uses. Since the site was previously developed, little vegetation or drainage features currently exist on-site. The redevelopment minimizes land clearing, grading, and soil compaction. The installation of a proposed storm pipe will drain from the structure to the existing combined sewer in Comrie Way.

4) Will the development result in a net positive or net negative change in stormwater flow?

The stormwater management for the site consists of a collection system that conveys stormwater from the units to underground storage tanks. Upon completion of the development, the site will result in a net negative change in stormwater flow.