City of Pittsburgh

Sewer Facilities Planning Module Questionnaire

PROJECT NAME: Allegheny Center Alliance Church Hub

1) What was the previous permitted use for this property?

Property was previously various church and activity uses for the Allegheny Center Alliance Church.

2) What is the proposed use for the property?

The proposed use is the same, the new building to be constructed will offer more space for the same uses.

3) How is green stormwater mitigation being integrated into the proposed project?

Stormwater management for the proposed project is handled by an underground detention system under the front drop off area.  The underground detention system has an infiltration bed directly underneath the footprint of the system.

4) Will the development result in a net positive or net negative change in stormwater flow?

As a result of the aforementioned underground detention systems, there is an overall negative change in stormwater flow.  The calculations show as a result of the stormwater BMPs, there an overall average of  68%+/- reduction in stormwater flow leaving the site.